## log
index | analysis_date | description | data_identifier | replicate_no | integration_time_s | dilution | RSU_area_1s | run_type | collect_date | DOC_mg_L | Notes
1 | 2024-07-29 | Sample Blank 1 | BLK2407291 | 1 | 5 | 1 | 2647.1261 | sampleQ
2 | 2024-07-29 | CDRCKJuneSite01Treated | CDRCKJ01Tre | 1 | 5 | 1 | 2647.1261 | sampleQ
3 | 2024-07-29 | CDRCKJuneSite01DUPTreated | CDRCKJ01DUPTre | 1 | 5 | 1 | 2647.1261 | sampleQ
4 | 2024-07-29 | CDRCKJuneSite02Treated | CDRCKJ02Tre | 1 | 5 | 1 | 2647.1261 | sampleQ
5 | 2024-07-29 | CDRCKJuneSite03Treated | CDRCKJ03Tre | 1 | 5 | 1 | 2647.1261 | sampleQ
6 | 2024-07-29 | CDRCKJuneSite04Treated | CDRCKJ04Tre | 1 | 5 | 1 | 2647.1261 | sampleQ
7 | 2024-07-29 | CDRCKJuneSite05Treated | CDRCKJ05Tre | 1 | 5 | 1 | 2647.1261 | sampleQ
8 | 2024-07-29 | CDRCKJuneSite06Treated | CDRCKJ06Tre | 1 | 5 | 1 | 2647.1261 | sampleQ
9 | 2024-07-29 | CDRCKJuneSite07Treated | CDRCKJ07Tre | 1 | 5 | 1 | 2647.1261 | sampleQ
10 | 2024-07-29 | CDRCKJuneSite07DUPTreated | CDRCKJ07DUPTre | 1 | 5 | 1 | 2647.1261 | sampleQ
11 | 2024-07-29 | Sample Blank 2 | BLK2407292 | 1 | 5 | 1 | 2647.1261 | sampleQ
12 | 2024-07-29 | CDRCKJuneSite08Treated | CDRCKJ08Tre | 1 | 5 | 1 | 2647.1261 | sampleQ
13 | 2024-07-29 | CDRCKJuneSite09Treated | CDRCKJ09Tre | 1 | 5 | 1 | 2647.1261 | sampleQ
14 | 2024-07-29 | CDRCKJuneSite10Treated | CDRCKJ10Tre | 1 | 5 | 1 | 2647.1261 | sampleQ
15 | 2024-07-29 | Sample Blank 3 | BLK2407293 | 1 | 5 | 1 | 2647.1261 | sampleQ

## description
Column Header | Description | Notes
index | Simply the numeric order of entry (e.g. 1, 2, 3, 4, etc…)
analysis_date | Data samples were ran on instrument (not collected in the field)
description | A brief description of the sample collected – 60-character max. | This description will be displayed on the top of final EEM figures
data_identifier | The file name from the aqualog
replicate_no | Numeric | Analytical Replicates must have identical Sample IDs
integration_time | Integration time of sample (e.g. 1, 2, etc…)
dilution | Include dilution factor here as decimal format (e.g. a 2-fold dilution with 1 part sample and 1 part water will have a dilution factor of 0.5).
RSU_area_1s | The RSU Adjust Area from the Raman Test | Use the one from the DI water if you're using that blank, otherwise use the one from the sealed water
run_type | How the samples were run (manual or sampleQ) | needs to be specifically 'manual' or 'sampleQ' with same capitalization
collect_date | The date the water samples were collected
DOC_mg_L | DOC concentration in mg/L of the original sample (not the diluted sample). | Samples with absorbance at 254 nm greater than 0.3 must be diluted.