## log
index | analysis_date | description | data_identifier | replicate_no | integration_time_s | dilution | RSU_area_1s | run_type | collect_date | DOC_mg_L
1 | 2025-01-08 | Sample Blank 1 | BLK01250108 | 1 | 5 | 1 |  | sampleQ
2 | 2025-01-08 | PreTea 1% SRM | preTea250108 | 1 | 5 | 1 |  | sampleQ
3 | 2025-01-08 | Vial-10ppm-10s-Filtered | V10ppm10sF | 1 | 5 | 1 |  | sampleQ |  | 3.478
4 | 2025-01-08 | Vial-40ppm-10s-Filtered | V40ppm10sF | 1 | 5 | 1 |  | sampleQ |  | 2.852
5 | 2025-01-08 | Vial-80ppm-10s-Filtered | V80ppm10sF | 1 | 5 | 1 |  | sampleQ |  | 2.307
6 | 2025-01-08 | Vial-120ppm-10s-Filtered | V120ppm10sF | 1 | 5 | 1 |  | sampleQ |  | 1.99
7 | 2025-01-08 | Vial-10ppm-30s-Filtered | V10ppm30sF | 1 | 5 | 1 |  | sampleQ |  | 3.421
8 | 2025-01-08 | Vial-40ppm-30s-Filtered | V40ppm30sF | 1 | 5 | 1 |  | sampleQ |  | 2.815
9 | 2025-01-08 | Vial-80ppm-30s-Filtered | V80ppm30sF | 1 | 5 | 1 |  | sampleQ |  | 2.253
10 | 2025-01-08 | Vial-120ppm-30s-Filtered | V120ppm30sF | 1 | 5 | 1 |  | sampleQ |  | 1.966
11 | 2025-01-08 | Vial-10ppm-60s-Filtered | V10ppm60sF | 1 | 5 | 1 |  | sampleQ |  | 3.362
12 | 2025-01-08 | Sample Blank 2 | BLK02250108 | 1 | 5 | 1 |  | sampleQ
13 | 2025-01-08 | Vial-40ppm-60s-Filtered | V40ppm60sF | 1 | 5 | 1 |  | sampleQ |  | 2.716
14 | 2025-01-08 | Vial-80ppm-60s-Filtered | V80ppm60sF | 1 | 5 | 1 |  | sampleQ |  | 2.279
15 | 2025-01-08 | Vial-120ppm-60s-Filtered | V120ppm60sF | 1 | 5 | 1 |  | sampleQ |  | 1.936
16 | 2025-01-08 | Jar-10ppm-Filtered | J10ppmF | 1 | 5 | 1 |  | sampleQ |  | 3.188
17 | 2025-01-08 | Jar-40ppm-Filtered | J40ppmF | 1 | 5 | 1 |  | sampleQ |  | 2.463
18 | 2025-01-08 | Jar-80ppm-Filtered | J80ppmF | 1 | 5 | 1 |  | sampleQ |  | 2.043
19 | 2025-01-08 | Jar-120ppm-Filtered | J120ppmF | 1 | 5 | 1 |  | sampleQ |  | 1.845
20 | 2025-01-08 | BZN Raw water-filtered | BZNRawFiltered | 1 | 5 | 1 |  | sampleQ |  | 1.256
21 | 2025-01-08 | BZN Ash leached raw-filtered | BZNAshRawFiltered | 1 | 5 | 1 |  | sampleQ |  | 3.368
22 | 2025-01-08 | PostTea 1% SRM | postTea250108 | 1 | 5 | 1 |  | sampleQ
23 | 2025-01-08 | Sample Blank 3 | BLK03250108 | 1 | 5 | 1 |  | sampleQ

## description
Column Header | Description | Notes
index | Simply the numeric order of entry (e.g. 1, 2, 3, 4, etc…)
analysis_date | Data samples were ran on instrument (not collected in the field)
description | A brief description of the sample collected – 60-character max. | This description will be displayed on the top of final EEM figures
data_identifier | The file name from the aqualog
replicate_no | Numeric | Analytical Replicates must have identical Sample IDs
integration_time | Integration time of sample (e.g. 1, 2, etc…)
dilution | Include dilution factor here as decimal format (e.g. a 2-fold dilution with 1 part sample and 1 part water will have a dilution factor of 0.5).
RSU_area_1s | The RSU Adjust Area from the Raman Test | Use the one from the DI water if you're using that blank, otherwise use the one from the sealed water
run_type | How the samples were run (manual or sampleQ) | needs to be specifically 'manual' or 'sampleQ' with same capitalization
collect_date | The date the water samples were collected
DOC_mg_L | DOC concentration in mg/L of the original sample (not the diluted sample). | Samples with absorbance at 254 nm greater than 0.3 must be diluted.